{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["测试用例"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"测试用例","index":0,"n_rows":38,"n_cols":10,"rows_kept":38,"cut":false,"hidden":false,"merged":[[1,1,1,2],[3,3,3,5],[4,3,4,5],[18,3,18,5],[19,3,19,5],[31,3,31,5],[21,3,21,5],[5,3,5,5],[8,3,8,5],[11,3,11,5],[12,3,12,5],[13,3,13,5],[14,3,14,5],[20,3,20,5],[6,3,6,5],[16,3,16,5],[10,3,10,5],[17,3,17,5],[25,3,25,5],[15,3,15,5],[24,3,24,5],[22,3,22,5],[23,3,23,5],[38,3,38,5],[9,3,9,5],[7,3,7,5],[37,3,37,5],[33,3,33,5],[34,3,34,5],[35,3,35,5],[36,3,36,5],[26,3,26,5],[28,3,28,5],[30,3,30,5],[32,3,32,5],[27,3,27,5],[29,3,29,5]]}
[]
[null,"模块",null,"系统设置","画面","通常设置画面","用例数",{"$f":"COUNTA(D5:F39)","v":34},"BUG数",{"$f":"COUNTIF(I5:I39,\"否\")+COUNTIF(I5:I39,\"否→是\")","v":0}]
[]
[null,"区分","No","测试用例",null,null,"测试日期","测试者","是否通过","备注"]
[null,"1.画面",1.1000000000000001,"标题栏无图标"]
[null,null,1.2,"标题栏显示【通常设置】"]
[null,null,1.3,"画面初始显示在主显示器屏幕中央"]
[null,null,1.4,"画面为固定大小，无最大化最小化按钮，不可拉动改变画面尺寸"]
[null,null,1.5,"画面整齐，各项目排列间距均等"]
[null,null,1.6,"画面文字无多余、缺失及错误"]
[null,null,1.7,"画面文字全部来源于国际化资源文件【form.resx】"]
[null,null,1.8,"画面初始焦点落在左上角第一个可输入控件【软件语言】上"]
[null,null,1.9,"页面Tab键顺序为：先左到右，然后上到下"]
[null,null,"1.10","按下键盘【ESC】键，按取消处理，自动关闭该画面"]
[null,"2.功能",2.1,"【软件语言】下拉框全部选项有【中文】"]
[null,null,"2.2","首次安装启动，【软件语言】下拉框默认选中【中文】"]
[null,null,"2.3","【日志输出】下拉框全部选项有：调试、信息、警告、错误、关闭"]
[null,null,"2.4","首次安装启动，【日志输出】下拉框默认选中：关闭"]
[null,null,"2.5","【日志输出】下拉框默认选中警告，点击确定按钮后，只有警告级别以上的日志会被输出"]
[null,null,"2.6","【日志输出】下拉框默认选中关闭，点击确定按钮后，不在输出日志"]
[null,null,"2.7","【日志输出】下拉框默认选中信息，点击确定按钮后，所有级别日志都会输出"]
[null,null,"2.8","首次安装启动，【切换物镜转盘提示】为未选中状态"]
[null,null,"2.9","首次安装启动，【切换偏光明场提示】为未选中状态"]
[null,null,"2.10","首次安装启动，【检测结果默认显示】为图库模式"]
[null,null,"2.11","【显示最小颗粒尺寸】输入框可输入数值范围：5~1000"]
[null,null,"2.12","首次安装启动，【显示最小颗粒尺寸】输入框默认显示：50"]
[null,null,"2.13","【显示颗粒最大数量】输入框可输入数值范围：1~1000"]
[null,null,"2.14","首次安装启动，【显示颗粒最大数量】输入框默认显示：20"]
[null,null,"2.15","【缩略图默认尺寸】输入框可输入数值范围：50~1000"]
[null,null,"2.16","首次安装启动，【缩略图默认尺寸】输入框默认显示：145"]
[null,null,"2.17","【颗粒默认幅度比例】下拉框全部选项有：\n10、20、30、40、50、60、70、80、90、100"]
[null,null,"2.18","首次安装启动，【颗粒默认幅度比例】下拉框默认选中：60"]
[null,null,"2.19","点击【确定】按钮，画面所有设定项目正确保存到配置文件：\n.\\plugins\\Cleanliness\\Config\\Setting\\GeneralSetting.xml中"]
[null,null,"2.20","点击【取消】按钮，画面所有设定项目不会保存到配置文件：\n.\\plugins\\Cleanliness\\Config\\Setting\\GeneralSetting.xml中"]
[null,null,"2.21","画面初始显示时，会根据配置文件.\\plugins\\Cleanliness\\Config\\Setting\n\\GeneralSetting.xml正确初始化画面设定内容"]
[null,"3.异常","3.1","配置文件.\\plugins\\Cleanliness\\Config\\Setting\\GeneralSetting.xml不存在的场合，画面会以出厂设置表示该画面（参照测试用例2.1~2.15）"]
[null,null,"3.2","配置文件.\\plugins\\Cleanliness\\Config\\Setting\\GeneralSetting.xml不存在的场合，打开该画面时，会以出厂设置自动生成该配置文件"]
[null,"4.性能","4.1","点击菜单【设置】→【通常设置】，画面显示无卡顿"]