{"text_format":"2","workbook":"xlsx","n_sheets":33,"sheets":["Sheet1","1","2","3","4","5","6","7","8","9","10","11","12","13","14","15","16","17","18","19","20","21","22","23","24","25","26","27","28","29","30","32","33"],"not_rendered":{"charts":0,"images":40,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":52,"n_cols":10,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
[null,"序号","问题分类","问题描述","提出者","提出日期","修改者","对应日期","对应说明","状态"]
[null,1,"画面问题","①缩略图区域背景颜色太浅\n②右上角显示图片区域加个细的边框，避免无图时无边界","沙永刚","2022-08-01","王琦","2022-08-02",null,"修改完"]
[null,2,"画面问题","画面布局问题，参照Sheet[2]","沙永刚","2022-08-01","王琦","2022-08-02",null,"修改完"]
[null,3,null,"按钮高度未统一到25像素","沙永刚","2022-08-01","王琦","2022-08-02",null,"修改完"]
[null,4,null,"颗粒类型转换按钮，只有在选中颗粒时才可用，并且只有该选中颗粒类型外的另外两种类型按钮才可用","沙永刚","2022-08-01","王琦","2022-08-02",null,"修改完"]
[null,5,null,"选择图片缩小或选择颗粒幅度大颗粒后，标尺被缩小看不清楚了，图片放大或缩小，标尺粗细和文字大小应不变","沙永刚","2022-08-01","王琦","2022-08-02",null,"修改完"]
[null,6,null,"①颗粒信息列表中[颗粒分类]列显示内容不正确\n②颗粒信息列表需要追加一列[分级]","沙永刚","2022-08-01","王琦","2022-08-02",null,"修改完"]
[null,7,null,"颗粒信息列表中的灰度均值显示的都是0，确认是否正确","沙永刚","2022-08-01",null,null,"明场灰度均值，还无法获取"]
[null,8,null,"颗粒信息列表列头中缺少计量单位","沙永刚","2022-08-01","王琦","2022-08-02",null,"修改完"]
[null,9,null,"需要将选中缩略图与颗粒信息表中对应数据行关联，即选中缩略图自动选择下边对应颗粒数据行；同理，选择下边数据行，需要自动选择上边缩略图","沙永刚","2022-08-01","王琦","2022-08-02",null,"修改完"]
[null,10,null,"缩略图展示区滚动条问题：下方没有图片了，滚动条还可以拖动","沙永刚","2022-08-01","王琦","2022-08-02",null,"修改完"]
[null,11,null,"出现缩略图表示不全的问题，建议至少显示一个完整颗粒","沙永刚","2022-08-01",null,null,"更新算法后，没有发现这个问题，请再进行审查测试。"]
[null,12,null,"右键设置颗粒信息列表显示的时候，上边缩略图显示被刷新了（不应该刷新）","沙永刚","2022-08-01","王琦","2022-08-02",null,"修改完"]
[null,13,null,"检测结果未归档时，弹出的对话框不正确：未使用MessageDialog共通画面，同时缺少[否]的按钮","沙永刚","2022-08-01","王琦","2022-08-04",null,"修改完"]
[null,14,null,"未输出报告时，点击工具栏按钮不需要提示是否输出报告提示","沙永刚","2022-08-01","王琦","2022-08-02",null,"修改完"]
[null,15,null,"没有检测结果表示使，点击工具栏存档等按钮，不需要有反应","沙永刚","2022-08-01","王琦","2022-08-02",null,"修改完"]
[null,16,null,"颗粒标尺未使用系统设置的标尺样式","沙永刚","2022-08-02",null,null,"目前无法使用"]
[null,17,null,"系统设置中，改变图片默认尺寸大小，图库模式的图片没有马上根据设置立即刷新大小（其他影响画面的设置生效后，也应刷新画面）","沙永刚","2022-08-02","王琦","2022-08-04",null,"修改完"]
[null,18,null,"系统设置中，改变显示颗粒数量和最小尺寸后，再去图库模式改变颗粒幅度，发生异常（偶发，未找到规律）","沙永刚","2022-08-02","王琦","2022-08-04","目前确定是没有选择图片时会发生，现增加判断。","修改完"]
[null,19,null,"通过图库模式左侧的下拉框，改变图片大小时，中间显示图片区域的刷新有性能问题，出现\"花屏\"了","沙永刚","2022-08-02","王琦","2022-08-15",null,"修改完"]
[null,20,null,"没有任何颗粒信息时，点击是否显示轮廓CheckBox时发生异常","沙永刚","2022-08-02","王琦","2022-08-04",null,"修改完"]
[null,21,null,"改变颗粒类型时，发生异常了","沙永刚","2022-08-02","王琦","2022-08-04",null,"修改完"]
[null,22,null,"图片来源：本地图片的场合，实时预览及高度测量应不可用","沙永刚","2022-08-02","王琦","2022-08-04",null,"修改完"]
[null,23,null,"右上角的偏光或明场RadioButton，要根据规程设置来控制其是否可用","沙永刚","2022-08-02","王琦","2022-08-04",null,"修改完"]
[null,24,null,"右上角的颗粒预览按钮，修改下文字内容[颗粒预览]→[实时预览]","沙永刚","2022-08-02","王琦","2022-08-04",null,"修改完"]
[null,25,null,"判断条件中，特征参数使用了硬编码，后续国际化后可能会有Bug","沙永刚","2022-08-30","王琦","2022-09-05",null,"修改完"]
[null,26,null,"颗粒编辑后，返回图库模式，图片都变为黑色了","沙永刚","2022-08-30","王琦","2022-09-05","由原Cut截图改为ContourCrop截图","修改完"]
[null,27,null,"下边没有图片了，滚动条却还可以拖动","沙永刚","2022-09-02","王琦","2022-09-09",null,"修改完"]
[null,28,null,"图库模式图片，默认需要显示明场图片，下边数据列表中数据的平均灰度需要用明场的平均灰度","沙永刚","2022-09-02","王琦","2022-09-05",null,"修改完"]
[null,29,null,"使用[平均灰度]排序时，颗粒图片显示不正确","沙永刚","2022-09-05","王琦","2022-09-05",null,"修改完"]
[null,30,null,"重新计算按钮，是否需要保留，如不需要则删除","沙永刚","2022-09-06","王琦","2022-09-09","重新计算需要根据颗粒信息编辑结果进行重新分类评级，可以不保留，每次更新后开启一个线程进行重新计算（暂定隐藏该按钮）。","修改完"]
[null,31,null,"选择颗粒后，点击“删除颗粒”按钮后，颗粒信息依然存在","宋珊珊","2022-09-16","王琦","2022-09-16",null,"修改完"]
[null,32,null,"检测完成后，切换到“图库模式”，点开项目浏览，选择此时的检测项目，点击“删除项目”，然后再回到检测结果里，选择颗粒，点击“颗粒编辑”或是“删除颗粒”会报错","宋珊珊","2022-09-16"]
[null,33,null,"当关闭软件，重新启动后，通过项目选择查看检测结果（图库模式），会导致画面永远等待，推断可能是因为代码中使用了SharedData.CleanProcessors[ProjectTesting.Id]。\n\n除了检测分析时使用上记算法对象，其他场合不应使用，因此可能不存在，即使存在也可能不是该检测项目使用的算法对象（通过项目浏览方式查看时）\n\n需要展开检查，使用了上记算法对象的地方可能都存在该问题","沙永刚","2022-09-16"]
[null,34]
[null,35]
[null,36]
[null,37]
[null,38]
[null,39]
[null,40]
[null,41]
[null,42]
[null,43]
[null,44]
[null,45]
[null,46]
[null,47]
[null,48]
[null,49]
[null,50]

{"sheet":"1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"2","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"3","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"4","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"5","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"6","index":6,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"7","index":7,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"8","index":8,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"9","index":9,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"10","index":10,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"11","index":11,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"12","index":12,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"13","index":13,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"14","index":14,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"15","index":15,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"16","index":16,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"17","index":17,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"18","index":18,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"19","index":19,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"20","index":20,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"21","index":21,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"22","index":22,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"23","index":23,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"24","index":24,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"25","index":25,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"26","index":26,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"27","index":27,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"28","index":28,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"29","index":29,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"30","index":30,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"32","index":31,"n_rows":87,"n_cols":1,"rows_kept":87,"cut":false,"hidden":false,"merged":[]}
[]
["检测结果显示"]
{"$rows_empty":43}
["项目浏览打开项目，点击“删除项目”"]
{"$rows_empty":40}
["选择颗粒，点击“编辑颗粒”"]

{"sheet":"33","index":32,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}