{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["work items"],"not_rendered":{"charts":0,"images":10,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"work items","index":0,"n_rows":11,"n_cols":9,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
["标题","状态","负责人","提出人","计划开始时间","计划完成时间","优先级","提出日期","问题截图"]
["规程浏览-报告选项-最大颗粒占图比例为0可以保存。","待处理",null,"王琦",null,null,"中","2023-01-04"]
["规程浏览-清洁度级别编码-无法更改下限值（最小值小于4时双击后变为5，无法向下设置）。","待处理",null,"王琦",null,null,"中","2023-01-05"]
["规程浏览-清洁度级别编码-编码分隔符设置（应该不允许设置为数字或字母）。","待处理",null,"王琦",null,null,"中","2023-01-05"]
["规程浏览-分级设置-更改参数后，切换参考标准时参数不变。","待处理",null,"王琦",null,null,"中","2023-01-05"]
["规程浏览-参数设置-参考方案可以为空或只有一个方案时选择不上。","待处理",null,"王琦",null,null,"中","2023-01-05"]
["规程浏览-执行流程-物相提取设置-在其他Tab页点击重新加载后切换回来图片尺寸信息不显示（或者说重新加载后，图片还存在）。","待处理",null,"王琦",null,null,"中","2023-01-06"]
["项目浏览-关键字搜索项目为空时，棒图控件、检测结果和颗粒数量依然显示。","待处理",null,"王琦",null,null,"中","2023-01-06"]
["软件启动界面还是显示MetisVision。","待处理",null,"王琦",null,null,"中","2023-01-06"]
["项目浏览-在没有项目时，显示棒图和表格背景为白色，检测结果也有颜色。","待处理",null,"王琦",null,null,"中","2023-01-06"]
["项目管理-删除项目后，对应磁盘文件依然存在。","待处理",null,"王琦",null,null,"中","2023-01-06"]