{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["work items"],"not_rendered":{"charts":0,"images":9,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"work items","index":0,"n_rows":14,"n_cols":10,"rows_kept":14,"cut":false,"hidden":false,"merged":[]}
["标题","状态","负责人","提出人","计划开始时间","计划完成时间","优先级","提出日期","问题截图"]
["检测-项目信息录入界面中“项目名称”必填项验证时，未对空格进行处理","待处理",null,"宋珊珊",null,null,"中","2023-01-03"]
["检测-项目信息录入界面中“零件数量”，未限制0的输入","待处理",null,"宋珊珊",null,null,"中","2023-01-03"]
["检测-规程选择界面，表格左侧显示有缺失","待处理",null,"宋珊珊",null,null,"低","2023-01-06",{"$f":"_xlfn.DISPIMG(\"ID_C0D406E26E00413092D4CAD866CF84AA\",1)","v":"=DISPIMG(\"ID_C0D406E26E00413092D4CAD866CF84AA\",1)"}]
["检测-分析范围设定界面中选择“最大”按钮后，在右侧依然可以将区域再调大。调到超出图片区域。","待处理",null,"宋珊珊",null,null,"待定","2023-01-06",{"$f":"_xlfn.DISPIMG(\"ID_876FED843BFC4F6A8061B8BA9BA2D7C1\",1)","v":"=DISPIMG(\"ID_876FED843BFC4F6A8061B8BA9BA2D7C1\",1)"}]
["检测-分析范围设定界面中分析范围中的左、右、上、下值是否需要限制不能为负数","待处理",null,"宋珊珊",null,null,"待定","2023-01-06",{"$f":"_xlfn.DISPIMG(\"ID_53CE906DF2D949788BA208E08EE37298\",1)","v":"=DISPIMG(\"ID_53CE906DF2D949788BA208E08EE37298\",1)"}]
["检测-物相提取设定界面缩放窗体时，底部的按钮会有被遮挡的情况","待处理",null,"宋珊珊",null,null,"中","2023-01-06",{"$f":"_xlfn.DISPIMG(\"ID_72B7043555DA4130BE817FDA828107B8\",1)","v":"=DISPIMG(\"ID_72B7043555DA4130BE817FDA828107B8\",1)"}]
["检测-分级模式界面中的“特征参数”显示的是英文，规程中-分级设置中使用的是中文（英文），应该显示一致","待处理",null,"宋珊珊",null,null,"待定","2023-01-06",{"$f":"_xlfn.DISPIMG(\"ID_48EABE95B530467889FB0807536697EB\",1)","v":"=DISPIMG(\"ID_48EABE95B530467889FB0807536697EB\",1)"},{"$f":"_xlfn.DISPIMG(\"ID_AE533285CA604A4797CC67467983685C\",1)","v":"=DISPIMG(\"ID_AE533285CA604A4797CC67467983685C\",1)"}]
["检测-分级模式界面中切换“颗粒类型”、“颗粒级别”、“图片大小”、“颗粒幅度”后再切换颗粒类型后，缩略图不见了，颗粒信息也没有了。颗粒数停留在上一次操作时的颗粒数量。颗粒数量与当前颗粒类型对不上。\n当颗粒类型不存在的情况下，如纤维颗粒数量为0时，切换到其它颗粒类型的“颗粒数”没有显示0，而是显示之前类型的颗粒数","待处理",null,"宋珊珊",null,null,"中","2023-01-09",{"$f":"_xlfn.DISPIMG(\"ID_4EC49F0B7FAB4272AD98C1F8E7E77C7C\",1)","v":"=DISPIMG(\"ID_4EC49F0B7FAB4272AD98C1F8E7E77C7C\",1)"}]
["检测-生成报告功能，报告中金属颗粒、非金属颗粒、纤维级别分布中表格的表头和数据行之间有空隙","已处理",null,"宋珊珊","2023-01-11","2023-01-11","低","2023-01-09",{"$f":"_xlfn.DISPIMG(\"ID_6CC71EE781F1443CBD4905C579CB1326\",1)","v":"=DISPIMG(\"ID_6CC71EE781F1443CBD4905C579CB1326\",1)"}]
["检测-分级模式中包括全部颗粒，图库模式中只显示在指定尺寸以上的颗粒。两种模式下数量会不一致，报告中柱图上的数量与图片也存在这个问题","待处理",null,"宋珊珊",null,null,"待定","2023-01-10"]
["设置-用户管理删除用户信息后，右侧基础信息不应该再显示之前删除的信息，考虑显示默认用户信息或是分组中的第一条用户信息","待处理",null,"宋珊珊",null,null,"低","2023-01-10",{"$f":"_xlfn.DISPIMG(\"ID_6960D8D2596E40AD9A16414F3E49C68A\",1)","v":"=DISPIMG(\"ID_6960D8D2596E40AD9A16414F3E49C68A\",1)"}]
["设置-客户管理删除用户信息后，右侧基础信息不应该再显示之前删除的信息，考虑显示默认客户信息或是分组中的第一条客户信息","待处理",null,"宋珊珊",null,null,"低","2023-01-11"]
["设置-零件管理删除零件信息后，右侧基础信息不应该再显示之前删除的信息，考虑显示默认零件信息或是分组中的第一条零件信息","待处理",null,"宋珊珊",null,null,"低","2023-01-11"]