{"text_format":"2","workbook":"xlsx","n_sheets":15,"sheets":["共通","通常设置画面","存储设置画面","磁盘清理","物镜转盘","实验室","用户管理","客户管理","部件管理","权限管理","聚焦参数","标尺标定","标尺样式","测量设置","快捷键"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":6,"comments":13,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"共通","index":0,"n_rows":14,"n_cols":9,"rows_kept":14,"cut":false,"hidden":false,"merged":[[26,2,26,4],[27,2,27,4],[21,2,21,4],[22,2,22,4],[23,2,23,4],[24,2,24,4],[25,2,25,4],[20,2,20,4],[9,2,9,4],[10,2,10,4],[11,2,11,4],[12,2,12,4],[13,2,13,4],[14,2,14,4],[15,2,15,4],[16,2,16,4],[17,2,17,4],[18,2,18,4],[19,2,19,4],[8,2,8,4],[3,2,3,4],[4,2,4,4],[5,2,5,4],[6,2,6,4],[7,2,7,4]]}
[]
[null,"模块","系统设置","画面","共通","用例数",{"$f":"COUNTA(C5:C28)","v":10},"BUG数",{"$f":"COUNTIF(H5:H28,\"否\")+COUNTIF(H5:H28,\"否→是\")","v":0}]
[]
[null,"序号","测试用例",null,null,"测试日期","测试者","是否通过","备注"]
[null,1,"画面启动无明显卡顿"]
[null,2,"标题栏无图标"]
[null,3,"标题栏显示正确"]
[null,4,"画面初始显示在主显示器屏幕中央"]
[null,5,"画面为固定大小的，无最大化最小化按钮，不可拉动改变画面尺寸"]
[null,6,"画面可改变尺寸大小的，改变画面大小后，画面内项目布局仍整齐合理"]
[null,7,"画面内项目整齐，各项目排列间距均等"]
[null,8,"画面文字无多余、缺失及错误"]
[null,9,"画面初始焦点落在画面左上角第一个可具有焦点的控件上"]
[null,10,"页面Tab键顺序为：先左到右，然后从上至下"]

{"sheet":"通常设置画面","index":1,"n_rows":23,"n_cols":9,"rows_kept":23,"cut":false,"hidden":false,"merged":[[27,3,27,4],[3,3,3,4],[6,3,6,4],[15,3,15,4],[16,3,16,4],[17,3,17,4],[19,3,19,4],[21,3,21,4],[18,3,18,4],[20,3,20,4],[23,3,23,4],[24,3,24,4],[4,3,4,4],[5,3,5,4],[7,3,7,4],[8,3,8,4],[25,3,25,4],[26,3,26,4],[22,3,22,4],[14,3,14,4],[9,3,9,4],[10,3,10,4],[11,3,11,4],[12,3,12,4],[13,3,13,4]]}
[]
[null,"模块","系统设置","画面","通常设置画面","用例数",{"$f":"COUNTA(D5:D28)","v":19},"BUG数",{"$f":"COUNTIF(H5:H28,\"否\")+COUNTIF(H5:H28,\"否→是\")","v":0}]
[]
[null,"序号","测试项","确认内容",null,"测试日期","测试者","是否通过","备注"]
[null,1,"软件语言","下拉框全部选项有：中文"]
[null,2,"日志输出","下拉框全部选项有：调试、信息、警告、错误、关闭"]
[null,3,null,"设定日志级别确定后，只有该设定级别以上的日志会被输出（含该级别）"]
[null,4,null,"设定某一级别，确定并重启后，初始选中与上次设定一致"]
[null,5,"切换物镜转盘提示","设定为选中/未选中状态，确定并重启后，初始状态与上次设定一致"]
[null,6,"切换偏光明场提示","设定为选中/未选中状态，确定并重启后，初始状态与上次设定一致"]
[null,7,"检测结果默认显示","设定为图库模式/分级模式，确定并重启后，初始状态与上次设定一致"]
[null,8,"显示最小颗粒尺寸","可输入范围5-1000"]
[null,9,null,"设定某一数值后，确定并重启后，初始值与上次设定一致"]
[null,10,"显示颗粒最大数量","可输入范围1-200"]
[null,11,null,"设定某一数值后，确定并重启后，初始值与上次设定一致"]
[null,12,"略图默认尺寸","可输入范围50-1000"]
[null,13,null,"设定某一数值后，确定并重启后，初始值与上次设定一致"]
[null,14,"粒默认幅度比例","下拉框全部选项有：10、20、30、40、50、60、70、80、90、100"]
[null,15,null,"设定某一选项，确定并重启后，初始选中与上次设定一致"]
[null,16,"确定按钮","画面所有设定项目正确保存到配置文件：\n.\\plugins\\Cleanliness\\Config\\Setting\\GeneralSetting.xml中"]
[null,17,null,"上述配置文件不存在的场合，自动生成该配置文件，并保存设定内容"]
[null,18,"取消按钮","画面项目不会被保存，再次打开画面后，其设定内容原始一致"]
[null,19,null,"按下键盘【ESC】，画面按取消设定进行处理，并自动关闭画面"]

{"sheet":"存储设置画面","index":2,"n_rows":15,"n_cols":9,"rows_kept":15,"cut":false,"hidden":false,"merged":[[27,3,27,4],[28,3,28,4],[23,3,23,4],[24,3,24,4],[25,3,25,4],[26,3,26,4],[18,3,18,4],[19,3,19,4],[20,3,20,4],[21,3,21,4],[22,3,22,4],[16,3,16,4],[17,3,17,4],[10,3,10,4],[11,3,11,4],[12,3,12,4],[13,3,13,4],[14,3,14,4],[15,3,15,4],[8,3,8,4],[9,3,9,4],[3,3,3,4],[4,3,4,4],[5,3,5,4],[6,3,6,4],[7,3,7,4]]}
[]
[null,"模块","系统设置","画面","存储设置画面","用例数",{"$f":"COUNTA(D5:D29)","v":11},"BUG数",{"$f":"COUNTIF(H5:H29,\"否\")+COUNTIF(H5:H29,\"否→是\")","v":0}]
[]
[null,"序号","测试项","确认内容",null,"测试日期","测试者","是否通过","备注"]
[null,1,"图片存储","初始选择与配置文件内容一致（ImagePath）：\n.\\plugins\\Cleanliness\\Config\\Setting\\StorageSetting.xml"]
[null,2,null,"上记配置文件不存在的场合，初始内容为：\n.\\plugins\\Cleanliness\\Repository\\Images"]
[null,3,"图片选择按钮","弹出目录选择对话框，确定后，会将选择目录设定到图片存储输入框"]
[null,4,null,"点击目录选择框的取消按钮，不会将选择目录设定到图片存储输入框"]
[null,5,"删除扫描小图","设定为选中/未选中状态，确定并重启后，初始状态与上次设定一致"]
[null,6,"结果确认","设定为选中状态保存后，执行查测，确认图片存储设定位置是否有扫描小图"]
[null,7,"集中存储","该区域所有项目均为不可用状态"]
[null,8,"确定按钮","画面所有设定项目正确保存到配置文件：\n.\\plugins\\Cleanliness\\Config\\Setting\\StorageSetting.xml"]
[null,9,null,"上述配置文件不存在的场合，自动生成该配置文件，并保存设定内容"]
[null,10,"取消按钮","画面项目不会被保存，再次打开画面后，其设定内容原始一致"]
[null,11,null,"按下键盘【ESC】，画面按取消设定进行处理，并自动关闭画面"]

{"sheet":"磁盘清理","index":3,"n_rows":8,"n_cols":9,"rows_kept":8,"cut":false,"hidden":false,"merged":[[8,3,8,4],[3,3,3,4],[4,3,4,4],[5,3,5,4],[6,3,6,4],[7,3,7,4],[20,3,20,4],[9,3,9,4],[10,3,10,4],[11,3,11,4],[12,3,12,4],[13,3,13,4],[14,3,14,4],[15,3,15,4],[16,3,16,4],[17,3,17,4],[18,3,18,4],[19,3,19,4],[27,3,27,4],[28,3,28,4],[21,3,21,4],[22,3,22,4],[23,3,23,4],[24,3,24,4],[25,3,25,4],[26,3,26,4]]}
[]
[null,"模块","系统设置","画面","磁盘清理画面","用例数",{"$f":"COUNTA(D5:D29)","v":4},"BUG数",{"$f":"COUNTIF(H5:H29,\"否\")+COUNTIF(H5:H29,\"否→是\")","v":0}]
[]
[null,"序号","测试项","确认内容",null,"测试日期","测试者","是否通过","备注"]
[null,1,"清理路径","弹出文件夹选择窗体，路径检测项目图片存储位置，存储设置中指定的路径"]
[null,2,null,"上述配置文件不存在的场合，初始内容为：\n.\\plugins\\Cleanliness\\Repository\\Images"]
[null,3,null,"检测项目图片以文件夹形式存储，名称与项目编号相同"]
[null,4,"操作结果确认","删除项目图片后，项目浏览中选择此项目，点击【项目查看】，弹出提示框，提示“项目图库已被删除，无法查看图库模式！”，点击【确定】，关闭提示框"]

{"sheet":"物镜转盘","index":4,"n_rows":24,"n_cols":9,"rows_kept":24,"cut":false,"hidden":false,"merged":[[12,3,12,4],[13,3,13,4],[14,3,14,4],[15,3,15,4],[3,3,3,4],[4,3,4,4],[6,3,6,4],[7,3,7,4],[8,3,8,4],[9,3,9,4],[28,3,28,4],[5,3,5,4],[22,3,22,4],[23,3,23,4],[24,3,24,4],[25,3,25,4],[26,3,26,4],[27,3,27,4],[16,3,16,4],[17,3,17,4],[18,3,18,4],[19,3,19,4],[20,3,20,4],[21,3,21,4],[10,3,10,4],[11,3,11,4]]}
[]
[null,"模块","系统设置","画面","物镜转盘画面","用例数",{"$f":"COUNTA(D5:D23)","v":13},"BUG数",{"$f":"COUNTIF(H5:H29,\"否\")+COUNTIF(H5:H29,\"否→是\")","v":0}]
[]
[null,"序号","测试项","确认内容",null,"测试日期","测试者","是否通过","备注"]
[null,1,"倍率","数值显示无小数位数"]
[null,2,null,"最小值为1，最大值为10000000"]
[null,3,"新增按钮","录入的倍率值保存到配置文件“.\\plugins\\Cleanliness\\Config\\Setting\\MagnificationSetting.xml”中"]
[null,4,null,"添加成功后，确认下拉列表中包含新增的倍率"]
[null,5,null,"确认重启后，下拉列表中包含新增的倍率"]
[null,6,"提示信息","输入倍率已存在，点【新增】，弹出提示框，提示“倍率已存在！”，中止新增"]
[null,7,null,"添加成功，弹出提示框，提示“添加成功！”"]
[null,8,"位置1~位置6","下拉框全部选项为配置文件“.\\plugins\\Cleanliness\\Config\\Setting\\MagnificationSetting.xml”中的全部倍率，按数值升序排列。下拉列表最后选择为“空位”"]
[null,9,null,"首次配置时，默认值为“空位”"]
[null,10,"确定按钮","画面所有设定项目正确保存到配置文件：\n.\\plugins\\Cleanliness\\Config\\Setting\\ObjectiveLensSetting.xml中"]
[null,11,null,"上述配置文件不存在的场合，自动生成该配置文件，并保存设定内容"]
[null,12,"取消按钮","画面项目不会被保存，再次打开画面后，其设定内容原始一致"]
[null,13,null,"按下键盘【ESC】，画面按取消设定进行处理，并自动关闭画面"]
[null,14]
[null,15]
[null,16]
[null,17]
[null,18]
[null,19]
[null,20]

{"sheet":"实验室","index":5,"n_rows":17,"n_cols":9,"rows_kept":17,"cut":false,"hidden":false,"merged":[[9,3,9,4],[3,3,3,4],[5,3,5,4],[6,3,6,4],[7,3,7,4],[8,3,8,4],[10,3,10,4],[11,3,11,4],[12,3,12,4],[13,3,13,4],[14,3,14,4],[27,3,27,4],[28,3,28,4],[4,3,4,4],[4,6,4,7],[21,3,21,4],[22,3,22,4],[23,3,23,4],[24,3,24,4],[25,3,25,4],[26,3,26,4],[15,3,15,4],[16,3,16,4],[17,3,17,4],[18,3,18,4],[19,3,19,4],[20,3,20,4]]}
[]
[null,"模块","系统设置","画面","实验室画面","用例数",{"$f":"COUNTA(D5:D17)","v":13},"BUG数",{"$f":"COUNTIF(H6:H29,\"否\")+COUNTIF(H6:H29,\"否→是\")","v":0}]
[]
[null,"序号","测试项","确认内容",null,"测试日期","测试者","是否通过","备注"]
[null,1,"单位名称","必填项，若为空，保存时弹出提示框，提示：“请输入单位名称！”"]
[null,2,"省份","下拉框全部选项为所有省、自冶区及港、澳、台"]
[null,3,"城市","与省份联动，下拉框全部选项为省份下的城市名称"]
[null,4,"电子邮箱","如果值为空则不验证格式。如果有值，要求格式必须满足电子邮箱格式要求"]
[null,5,"格式错误提示","点击【确定】，弹出“请输入正确格式的电子邮箱！”，提示框。"]
[null,6,null,"确认重启后，下拉列表中包含新增的倍率"]
[null,7,"提示信息","输入倍率已存在，点【新增】，弹出提示框，提示“倍率已存在！”，中止新增"]
[null,8,"显微镜型号","必填项，若为空，保存时弹出提示框，提示：“请输入所使用的显微镜！”"]
[null,9,"分析软件","必填项，若为空，保存时弹出提示框，提示：“请输入所使用的分析软件！”"]
[null,10,"确定按钮","画面所有设定项目正确保存到配置文件：\n.\\plugins\\Cleanliness\\Config\\Setting\\LaboratorySetting.xml中"]
[null,11,null,"上述配置文件不存在的场合，自动生成该配置文件，并保存设定内容"]
[null,12,"取消按钮","画面项目不会被保存，再次打开画面后，其设定内容原始一致"]
[null,13,null,"按下键盘【ESC】，画面按取消设定进行处理，并自动关闭画面"]

{"sheet":"用户管理","index":6,"n_rows":28,"n_cols":9,"rows_kept":28,"cut":false,"hidden":false,"merged":[[17,3,17,4],[5,3,5,4],[9,3,9,4],[7,3,7,4],[3,3,3,4],[4,3,4,4],[4,6,4,7],[15,3,15,4],[16,3,16,4],[30,3,30,4],[18,3,18,4],[19,3,19,4],[20,3,20,4],[21,3,21,4],[22,3,22,4],[24,3,24,4],[23,3,23,4],[25,3,25,4],[26,3,26,4],[27,3,27,4],[28,3,28,4],[29,3,29,4],[37,3,37,4],[38,3,38,4],[39,3,39,4],[6,3,6,4],[8,3,8,4],[10,3,10,4],[12,3,12,4],[11,3,11,4],[13,3,13,4],[14,3,14,4],[31,3,31,4],[32,3,32,4],[33,3,33,4],[34,3,34,4],[35,3,35,4],[36,3,36,4]]}
[]
[null,"模块","系统设置","画面","用户管理画面","用例数",{"$f":"COUNTA(D5:D28)","v":22},"BUG数",{"$f":"COUNTIF(H16:H40,\"否\")+COUNTIF(H16:H40,\"否→是\")","v":0}]
[]
[null,"序号","测试项","确认内容",null,"测试日期","测试者","是否通过","备注"]
[null,1,"关键字","为空时显示全部用户信息，有值，则按内容进行模糊查询"]
[null,2,null,"录入查询条件，确认用户列表信息显示准确"]
[null,3,"用户ID","必填项，为空保存时弹出提示框，提示“请输入用户ID！”"]
[null,4,null,"要求值唯一，不可重复。当值重复时，弹出提示框，提示“用户ID已经存在”"]
[null,5,"用户名称","必填项，为空保存时弹出提示框，提示“请输入用户名称！”"]
[null,6,null,"要求值唯一，不可重复。当名称重复时，弹出提示框，提示“用户名称已经存在”"]
[null,7,"密码","必填项，为空保存时弹出提示框，提示“密码不能为空！”"]
[null,8,null,"以“*”显示"]
[null,9,"确认密码","必填项，为空保存时弹出提示框，提示“确认密码不能为空！”"]
[null,10,"异常信息提示","“密码”与“确认密码”不一致时，提示“确认密码不一致！”"]
[null,11,"角色","下拉框全部选项有：管理员、普通用户。初始时默认值为管理员"]
[null,12,"用户信息列表","用户分类：管理员和普通用户，按角色类型分类显示"]
[null,13,null,"按添加时间顺序显示"]
[null,14,"信息查看","点击信息列表中根结点下的用户名称，可以查看用户详细信息"]
[null,15,null,"确认数据库表Operator中用户信息，与界面中各数据项一致"]
[null,16,"编辑信息","ID无法编辑，其它数据项可进行修改。"]
[null,17,"新建按钮","清空界面中数据项当前值"]
[null,18,"保存按钮","画面所有设定项目正确保存到数据库表Operator中"]
[null,19,null,"新建用户或是更新后的用户信息显示在左侧列表中"]
[null,20,"删除按钮","选择用户信息，点击按钮，弹出提示框，提示“确定要删除选中的用户吗？”，点击【确定】完成删除操作，点【取消】中止操作"]
[null,21,null,"用户信息从列表中消失"]
[null,22,null,"确认数据库表Operator中此用户信息的IsDeleted值为1"]
[null,23]
[null,24]

{"sheet":"客户管理","index":7,"n_rows":23,"n_cols":9,"rows_kept":23,"cut":false,"hidden":false,"merged":[[3,3,3,4],[6,3,6,4],[6,6,6,7],[7,3,7,4],[4,6,4,7],[5,3,5,4],[15,3,15,4],[16,3,16,4],[17,3,17,4],[18,3,18,4],[19,3,19,4],[28,3,28,4],[21,3,21,4],[22,3,22,4],[23,3,23,4],[24,3,24,4],[25,3,25,4],[26,3,26,4],[33,3,33,4],[34,3,34,4],[8,3,8,4],[9,3,9,4],[4,3,4,4],[29,3,29,4],[30,3,30,4],[31,3,31,4],[32,3,32,4],[20,3,20,4],[11,3,11,4],[12,3,12,4],[13,3,13,4],[14,3,14,4],[10,3,10,4],[27,3,27,4]]}
[]
[null,"模块","系统设置","画面","客户管理画面","用例数",{"$f":"COUNTA(D5:D23)","v":17},"BUG数",{"$f":"COUNTIF(H12:H35,\"否\")+COUNTIF(H12:H35,\"否→是\")","v":0}]
[]
[null,"序号","测试项","确认内容",null,"测试日期","测试者","是否通过","备注"]
[null,1,"关键字","为空时显示全部客户信息，有值，则按内容进行模糊查询"]
[null,2,null,"录入查询条件，确认用户列表信息显示准确"]
[null,3,"单位名称","必填项，为空时弹出提示框，提示“请输入单位名称”"]
[null,4,null,"要求值唯一，不可重复。当值重复时，弹出提示框，提示“单位名称已经存在”"]
[null,5,"省份","下拉框全部选项为所有省、自冶区及港、澳、台。初始时默认为北京"]
[null,6,"城市","与省份联动，下拉框全部选项为省份下的城市名称"]
[null,7,"电子邮箱","如果值为空则不验证格式。如果有值，要求格式必须满足电子邮箱格式要求"]
[null,8,"客户信息列表","按添加时间顺序显示"]
[null,9,"信息查看","点击信息列表中根结点下的客户名称，可以查看客户详细信息"]
[null,10,null,"确认数据库表Customer中客户信息，与界面中各数据项一致"]
[null,11,"编辑信息","数据项可进行修改，点【保存】可直接修改。"]
[null,12,"新建按钮","清空界面中数据项当前值"]
[null,13,"保存按钮","画面所有设定项目正确保存到数据库表Customer中"]
[null,14,null,"新建客户或是更新后的客户信息显示在左侧列表中"]
[null,15,"删除按钮","选择客户信息，点击按钮，弹出提示框，提示“确定要删除选中的客户吗？”，点击【确定】完成删除操作，点【取消】中止操作"]
[null,16,null,"客户信息从列表中消失"]
[null,17,null,"确认数据库表Customer中此客户信息的IsDeleted值为1"]
[null,18]
[null,19]

{"sheet":"部件管理","index":8,"n_rows":22,"n_cols":9,"rows_kept":22,"cut":false,"hidden":false,"merged":[[7,3,7,4],[3,3,3,4],[4,3,4,4],[4,6,4,7],[5,3,5,4],[6,3,6,4],[6,6,6,7],[21,3,21,4],[8,3,8,4],[11,3,11,4],[12,3,12,4],[13,3,13,4],[14,3,14,4],[15,3,15,4],[9,3,9,4],[10,3,10,4],[16,3,16,4],[17,3,17,4],[18,3,18,4],[19,3,19,4],[20,3,20,4],[33,3,33,4],[22,3,22,4],[23,3,23,4],[24,3,24,4],[25,3,25,4],[26,3,26,4],[27,3,27,4],[28,3,28,4],[29,3,29,4],[30,3,30,4],[31,3,31,4],[32,3,32,4]]}
[]
[null,"模块","系统设置","画面","部件管理画面","用例数",{"$f":"COUNTA(D5:D22)","v":16},"BUG数",{"$f":"COUNTIF(H9:H34,\"否\")+COUNTIF(H9:H34,\"否→是\")","v":0}]
[]
[null,"序号","测试项","确认内容",null,"测试日期","测试者","是否通过","备注"]
[null,1,"关键字","为空时显示全部部件信息，有值，则按内容进行模糊查询"]
[null,2,null,"录入查询条件，确认部件列表信息显示准确"]
[null,3,"部件名称","必填项，为空时弹出提示框，提示“请输入部件名称”"]
[null,4,null,"要求值唯一，不可重复。当值重复时，弹出提示框，提示“部件名称已经存在”"]
[null,5,"信息列表","按添加时间顺序显示"]
[null,6,"分类","下拉框全部选项有：汽车轴承、汽车油路、线路板、其他。"]
[null,7,null,"必选项，为空时弹出提示框，提示“请输入部件分类”"]
[null,8,"信息查看","点击信息列表中根结点下的部件名称，可以查看部件详细信息"]
[null,9,null,"确认数据库表ComponentPart中部件信息，与界面中各数据项一致"]
[null,10,"编辑信息","数据项可进行修改，点【保存】可直接修改。"]
[null,11,"新建按钮","清空界面中数据项当前值"]
[null,12,"保存按钮","画面所有设定项目正确保存到数据库表ComponentPart中"]
[null,13,null,"新建客户或是更新后的客户信息显示在左侧列表中"]
[null,14,"删除按钮","选择部件，点击按钮，弹出提示框，提示“确定要删除选中的部件吗？”，点击【确定】完成删除操作，点【取消】中止操作"]
[null,15,null,"部件信息从列表中消失"]
[null,16,null,"确认数据库表ComponentPart中此客户信息的IsDeleted值为1"]
[null,17]
[null,18]

{"sheet":"权限管理","index":9,"n_rows":13,"n_cols":9,"rows_kept":13,"cut":false,"hidden":false,"merged":[[4,6,4,7],[5,3,5,4],[6,3,6,4],[7,3,7,4],[9,3,9,4],[10,3,10,4],[3,3,3,4],[4,3,4,4],[11,3,11,4],[12,3,12,4],[8,3,8,4],[13,3,13,4],[14,3,14,4],[15,3,15,4],[22,3,22,4],[23,3,23,4],[24,3,24,4],[16,3,16,4],[17,3,17,4],[18,3,18,4],[19,3,19,4],[20,3,20,4],[21,3,21,4]]}
[]
[null,"模块","系统设置","画面","权限画面","用例数",{"$f":"COUNTA(D5:D13)","v":7},"BUG数",{"$f":"COUNTIF(H7:H25,\"否\")+COUNTIF(H7:H25,\"否→是\")","v":0}]
[]
[null,"序号","测试项","确认内容",null,"测试日期","测试者","是否通过","备注"]
[null,1,"表格数据","软件中包括的所有菜单项。"]
[null,2,"设置权限","为管理员和普通用户权限选择可操作项"]
[null,3,"确定按钮","画面所有设定项目保存到数据库Authority数据表"]
[null,4,null,"关闭软件，重新打开后，数据项与此前操作显示内容一致"]
[null,5,null,"修改管理员的可操作功能，保存后。重新启动软件，确认可见操作与权限配置务面内容是否一致"]
[null,6,"取消按钮","画面项目不会被保存，再次打开画面后，其设定内容原始一致"]
[null,7,null,"按下键盘【ESC】，画面按取消设定进行处理，并自动关闭画面"]
[null,8]
[null,9]

{"sheet":"聚焦参数","index":10,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"标尺标定","index":11,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[[25,3,25,4],[26,3,26,4],[27,3,27,4],[28,3,28,4],[29,3,29,4],[30,3,30,4],[19,3,19,4],[20,3,20,4],[21,3,21,4],[22,3,22,4],[23,3,23,4],[24,3,24,4],[13,3,13,4],[14,3,14,4],[15,3,15,4],[16,3,16,4],[17,3,17,4],[18,3,18,4],[8,3,8,4],[8,6,8,7],[9,3,9,4],[10,3,10,4],[11,3,11,4],[12,3,12,4],[3,3,3,4],[4,3,4,4],[4,6,4,7],[5,3,5,4],[6,3,6,4],[7,3,7,4]]}

{"sheet":"标尺样式","index":12,"n_rows":19,"n_cols":9,"rows_kept":19,"cut":false,"hidden":false,"merged":[[13,3,13,4],[8,6,8,7],[11,3,11,4],[3,3,3,4],[4,3,4,4],[4,6,4,7],[5,3,5,4],[12,3,12,4],[25,3,25,4],[14,3,14,4],[15,3,15,4],[16,3,16,4],[17,3,17,4],[18,3,18,4],[19,3,19,4],[20,3,20,4],[21,3,21,4],[22,3,22,4],[23,3,23,4],[24,3,24,4],[6,3,6,4],[7,3,7,4],[8,3,8,4],[9,3,9,4],[10,3,10,4],[26,3,26,4],[27,3,27,4],[28,3,28,4],[29,3,29,4],[30,3,30,4]]}
[]
[null,"模块","系统设置","画面","标尺样式","用例数",{"$f":"COUNTA(D5:D19)","v":13},"BUG数",{"$f":"COUNTIF(H13:H31,\"否\")+COUNTIF(H13:H31,\"否→是\")","v":0}]
[]
[null,"序号","测试项","确认内容",null,"测试日期","测试者","是否通过","备注"]
[null,1,"文字字体","标尺上文字的字体。"]
[null,2,"文字颜色","标尺上文字的颜色"]
[null,3,"文字字号","标尺上文字的字号"]
[null,4,"文字加粗","选择”是“，标尺上文字显示粗体，选择”否“，正常显示"]
[null,5,"线条宽度","标尺线段长度。"]
[null,6,"线条颜色","标尺线段颜色"]
[null,7,"垂线长度","标尺线段两端的高度"]
[null,8,"预览","修改参数后标尺样式可直接预览"]
[null,9,"确定按钮","保存界面配置项到生成目录下的Config/Setting/RulerStyleSetting.xml配置文件中"]
[null,10,null,"关闭软件，重新打开后，数据项与此前操作显示内容一致"]
[null,11,null,"打开项目的图库模式或是生成报告，确认图片上的标尺，显示样式是否与配置相同"]
[null,12,"取消按钮","画面项目不会被保存，再次打开画面后，其设定内容原始一致"]
[null,13,null,"按下键盘【ESC】，画面按取消设定进行处理，并自动关闭画面"]
[null,14]
[null,15]

{"sheet":"测量设置","index":13,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"快捷键","index":14,"n_rows":17,"n_cols":9,"rows_kept":17,"cut":false,"hidden":false,"merged":[[3,3,3,4],[4,3,4,4],[4,6,4,7],[7,3,7,4],[10,3,10,4],[19,3,19,4],[20,3,20,4],[21,3,21,4],[22,3,22,4],[23,3,23,4],[5,3,5,4],[8,3,8,4],[6,3,6,4],[9,3,9,4],[18,3,18,4],[12,3,12,4],[13,3,13,4],[14,3,14,4],[15,3,15,4],[16,3,16,4],[17,3,17,4],[11,3,11,4],[24,3,24,4],[25,3,25,4],[26,3,26,4],[27,3,27,4],[28,3,28,4]]}
[]
[null,"模块","系统设置","画面","快捷键画面","用例数",{"$f":"COUNTA(D5:D17)","v":9},"BUG数",{"$f":"COUNTIF(H11:H29,\"否\")+COUNTIF(H11:H29,\"否→是\")","v":0}]
[]
[null,"序号","测试项","确认内容",null,"测试日期","测试者","是否通过","备注"]
[null,1,"可用功能列表","与软件中菜单中各功能项显示一致。确认无软件中不存在的功能出现在列表中"]
[null,2,null,"默认列表为折叠状态，点击【+】可展开"]
[null,3,null,"列表中选择功能，可在”所选功能快捷键“查看到是否已指派功能键信息"]
[null,4,"所有已指派快捷键的功能列表","确认已指派快捷键的功能列表中，列出的功能，为当前系统中的功能。不存在系统中不存在的功能"]
[null,5,null,"点击记录，在”所选功能快捷键“位置可以显示对应的快捷键"]
[null,6,"此快捷键已应用至","如果设置了维护快捷键，但【设置】按钮依然是禁用状态的话，此位置显示设定值不符合要求的原因"]
[null,7,"设置按钮","保存对功能的快捷键的设置。"]
[null,8,"操作结果确认","按设定快捷键，确认是否可以执行对应的功能"]
[null,9,"删除按钮","弹出确认提示框，提示”确认删除快捷键吗，删除后不可恢复？“，点【确定】删除快捷键配置"]
[null,10]
[null,11]
[null,12]
[null,13]